## Estimator
CPWD Plinth Area Rate Estimator — 2025
Blue-on-yellow cells = your inputs. All rates/percentages are pulled live by formula from sheets "01 Building Cost" through "07 Specialized E&M" — nothing is retyped. Green text = a value copied from another section of this sheet. Per source Note 1: all rates are inclusive of CP&OH, GST and Labour Welfare Cess; any other local Cess/Levy must be added separately (see input near the Grand Total).
A. PROJECT & BUILDING BASICS
Item | Your input | Unit | Source condition / notes
Building category | Offices/Colleges |  | Finest category available across sheets 01 & 02. For Section-1 lookups this maps down to the 4-category split used in sheet "01 Building Cost" (that sheet does not split Hostels/Quarters further).
Structure type | RCC Framed |  | Governs base rate (1.1/1.2) and stronger-foundation rate (1.3.5).
Typical (normal) floor height selected | 3.6 | metre | Selects which base-rate row (3.60 m or 3.00 m) applies. Must equal 3.60 or 3.00 exactly, per source rate bands.
Actual average floor height (typical floors) | 3.6 | metre | Used for item 1.3.2 (extra/deduct per 0.3 m vs the normal height selected above).
Number of storeys (including ground floor) | 1 |  | E.g. G+5 = 6. Base rate (1.1/1.2) covers upto six storeys; storeys beyond 6 attract item 1.3.1 extra (Section C below).
Ground floor plinth area | 0 | sqm | Used wherever source says "ground floor area only": items 1.3.3, 1.3.4, 1.3.5, 1.3.6, 1.3.7, 1.3.8.
Total plinth area, all floors | 0 | sqm | Sum of plinth area of every floor. Used for the base building-cost rate and as the default "applicable area" for extras unless overridden below.
Plot area | 0 | sqm | Used by Section 7 (external CCTV surveillance, street lighting) and available for Section 6 detailed site-development inputs.
B. SECTION 1 — BASE BUILDING-COST RATE (auto-derived, then looked up)
Item | Derived value | Unit | How it is derived
Category as used in sheet "01 Building Cost" (4-way split) | Offices/Colleges |  | Sheet 01 only distinguishes Offices/Colleges, Hospitals, Schools, Hostels/Quarters — the three finer categories above all fall under "Hostels/Quarters" there.
Structure label as used in sheet "01 Building Cost" | RCC FRAMED STRUCTURE (Upto six storeys)
Floor-height condition text as used in sheet "01 Building Cost" | Floor height 3.60 metre
Base rate (items 1.1 / 1.2) — matched from sheet 01 | 30920 | ₹/sqm | Looked up from sheet "01 Building Cost" by exact match on structure type, floor height and building category. If the source has no rate for this exact combination, shows "N/A" instead of a wrong zero.
Base building cost = base rate × total plinth area | 0 | ₹
C. SECTION 1 — ITEM 1.3.1: EXTRA FOR ADDITIONAL STOREYS BEYOND SIX
Per sheet 01 note: base rate covers upto 6 storeys. Storeys 7-12 attract +1x the item-1.3.1 rate on their combined plinth area, storeys 13-18 attract +2x, 19-24 attract +3x, and so on (rate increases by 1x per additional 6-storey band). Default area per band assumes uniform floor plates (Total plinth area ÷ storeys × storeys in that band) — override column F if your floors are not uniform.
Band | Storey range | Storeys in this band | Band rate ₹/sqm | Area (sqm) — override if not uniform | Cost (₹)
Band 1 | 7-12 | 0 | 123 | 0 | 0
Band 2 | 13-18 | 0 | 246 | 0 | 0
Band 3 | 19-24 | 0 | 369 | 0 | 0
Band 4 | 25-30 | 0 | 492 | 0 | 0
Band 5 | 31-36 | 0 | 615 | 0 | 0
Band 6 | 37-42 | 0 | 738 | 0 | 0
Band 7 | 43-48 | 0 | 861 | 0 | 0
Band 8 | 49-54 | 0 | 984 | 0 | 0
Band 9 | 55-60 | 0 | 1107 | 0 | 0
Band 10 | 61-66 | 0 | 1230 | 0 | 0
Total — item 1.3.1 (storey-band extra) |  |  |  |  | 0
D. SECTION 1 — FOUNDATION / HEIGHT / BASEMENT / STILT / FIRE EXTRAS
Item (source ref.) | Input 1 | Input 2 (area, where needed) | Source condition | Unit | Cost (₹)
1.3.2 Extra/deduct — floor height ≠ normal height | (uses actual vs normal height entered in Section A) | 0 | Every 0.3 metre or part thereof, additional / less height of floor above normal floor height of 3.60 metre / 3.00 metre | ₹/sqm | 0
1.3.3 Extra — higher plinth height (ground floor area only) | 0.6 | 0 | Every 0.3 metre or part thereof, higher plinth height over normal plinth height of 0.60 metre (ground floor area only) | actual plinth ht, m | 0
1.3.4 Extra — deeper foundation (ground floor area only) | 1.2 | 0 | Every 0.30 metre or part thereof, deeper foundations over normal depth of 1.20 metre (ground floor area only) | actual depth, m | 0
1.3.5 Stronger foundation for a future additional floor (ground floor area only) | No | 0 | Making stronger foundations to take load of one additional floor at a later date (ground floor area only) | rate depends on structure type | 0
1.3.6 RCC raft foundation (ground floor area only) | No | 0 | RCC raft foundation — Ground floor area only |  | 0
1.3.7 Pile foundation upto 15 m depth (ground floor area only) | No | 0 | Pile foundation upto a depth of 15 metre |  | 0
1.3.8 Extra — pile foundation deeper than 15 m (only if 1.3.7 = Yes) | 15 | 0 | Every 1.0 m deeper pile foundation over normal depth of 15 metre | actual pile depth, m | 0
1.3.9 Stronger structural members — heavy load 500-1000 kg/sqm | No | 0 | Applicable area | area with heavy load (override) | 0
1.4.1 Basement floor (height upto 3.35 m, excl. raft base) | No | 0 | Floor height upto 3.35 metre including water proofing (excluding raft base) | basement floor area, sqm | 0
1.4.2 Extra/deduct — basement height ≠ normal 3.35 m (only if basement = Yes) | 3.35 | 0 | Add or deduct for every 0.30 metre, or part thereof, height against normal height of 3.35 metre | actual basement height, m | 0
1.7 Pressurized mechanical ventilation in basement (only relevant if basement = Yes) | No | 0 | With supply duct of exhaust blowers; on areas where mechanical ventilation is required | area requiring ventilation (override) | 0
1.8.1 Stilt portion, upto floor height 3.60 m (stilt area only) | No | 0 | Stilt portion of multi-storey buildings upto floor height of 3.60 metre (on stilt area only) | stilt area, sqm | 0
1.8.2 Extra — stilt floor height above 3.60 m (only if stilt = Yes) | 3.6 | 0 | Every 0.30 metre additional height above 3.60 metre | actual stilt height, m | 0
1.5 Fire fighting system | None | 0 | Applies on total plinth area ("All applicable" per source). | ₹/sqm | 0
1.6 Fire alarm system | None | 0 | Applies on total plinth area ("All applicable" per source). | ₹/sqm | 0
SECTION 1 TOTAL — BUILDING COST |  |  |  |  | 0
of which: Section-2 base (excludes items 1.3.4,1.3.5,1.3.6,1.3.7,1.3.8,1.3.9,1.5,1.6 — per sheet 02 basis note) |  |  |  |  | 0
E. SECTION 2 — SERVICES (% of Section-2 base above)
Item |  |  | Source condition | Rate % | Cost (₹)
2.1 Internal water supply & sanitary installations |  |  | % varies by building category (6-way split as in sheet 02). | 4% | 0
2.2.1 Electrical external service connections |  |  | Electrical external service connections | 3.75% | 0
2.2.2 Civil external service connections |  |  | Civil external service connections | 1.25% | 0
2.2.3 Local body approvals (incl. tree cutting etc.) |  |  | Local body approvals including tree cutting etc. | 1.25% | 0
2.3 Internal electric installations |  |  | Internal electric installations | 12.5% | 0
2.4.1 Power wiring and plugs |  |  | Power wiring and plugs | 4% | 0
2.4.2 Lightning conductors |  |  | Rate by building category; source has no rate for "Quarters" (shows N/A). | 0.25% | 0
2.4.3 Telephone conduits |  |  | Rate by building category; source has no rate for "Quarters" (shows N/A). | 0.25% | 0
SECTION 2 TOTAL — SERVICES |  |  |  |  | 0
BUILDING COST (Section 1 + Section 2) — used by Section 3 |  |  |  |  | 0
F. SECTION 3 — TPQA & CONSULTANCY (% of Building Cost 1.0+2.0; Note 2: only if desired by client)
Item | Include? |  | Source condition | Rate % | Cost (₹)
3.1 Third Party Quality Assurance (TPQA) | No |  | Consultancy Services for Architectural, Structural and MEP Services, if outsourced | 1% | 0
3.2 Consultancy Services (Architectural/Structural/MEP), if outsourced | No |  | Consultancy Services for Architectural, Structural and MEP Services, if outsourced | 1.75% | 0
SECTION 3 TOTAL — TPQA & CONSULTANCY |  |  |  |  | 0
G. SECTION 4 — LIFTS (item 4.x)
Pick a lift spec from sheet "04 Lifts" (type/capacity/speed/travel), state how many floors it actually serves (incl. ground). The spec's travel height (e.g. "G+4") sets the baseline number of floors already included in the price; floors served beyond that baseline are charged at the "extra per additional floor" rate — both pulled from sheet 04, never retyped.
Lift spec (type/cap/speed/travel) | Qty | Floors actually served (incl. ground) | Baseline floors (auto) | Extra floors | Unit price ₹ | Extra/floor ₹ | Line cost ₹
| 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0
SECTION 4 TOTAL — LIFTS | [6 empty] | 0
H. SECTION 5 — RCC WATER TANK (item 5.x)
Item | Type / Include? | Capacity (litres) | Source condition | Rate ₹/litre | Cost (₹)
5.1-5.4 Overhead tank (OHT) | None | 0 |  | 0 | 0
5.5 Underground sump | No | 0 |  | 24 | 0
SECTION 5 TOTAL — WATER TANK |  |  |  |  | 0
I. SECTION 6 — DEVELOPMENT OF SITE (item 6.x)
Per Note 4: use the Detailed method below when quantities for items 6.1-6.7 are measurable. If they cannot be computed, use the Flat-% fallback instead (a % of Section-1 Building Cost only — "building cost" is the term sheet 02 defines as Section 1.0; the combined "1.0+2.0" figure is always separately labelled in the source, so the plain term here means Section 1 alone).
Site development costing method | Flat % (site category)
If Flat %: site category | Compact |  | If development component area/length under items 6.1 to 6.7 cannot be computed: Compact site — 4.5% of building cost. Description: single huge-area building with few ancillary buildings or few high-rise blocks (higher than 12 storeys) in close cluster. ¦ Semi compact/semi scattered site — 6.0% of building cost. Description: few midrise blocks (6 to 12 storeys) in a gated compound. ¦ Large site — 7.5% of building cost. Description: various scattered low-rise buildings (upto 4 storeys), with exception of a block or two upto 6 storeys.
Flat-% cost (Compact 4.5% / Semi-compact 6.0% / Large 7.5% of Section-1 total) |  |  |  |  | 0
If Detailed: enter measured quantities below (used only when method = "Detailed measurement")
Item | Quantity | Unit | Source condition | Rate | Cost (₹)
6.1 Levelling | 0 | sqm | Levelling | 160 | 0
6.2 Road / pavement / footpath — type | Internal road WBM+bituminous | (select type)
6.2 Road / pavement / footpath — area | 0 | sqm |  | 1940 | 0
6.3 External sewerage | 0 | metre | External sewerage | 4180 | 0
6.4 Water supply distribution — type | Filtered - distribution upto 100mm
6.4 Water supply distribution — length | 0 | metre |  | 2170 | 0
6.5 Storm water drains | 0 | metre | Storm water drains | 10810 | 0
6.6 Rain water harvesting (excl. collection tank) | 0 | metre | Rain water harvesting (RWH) — excluding collection tank | 2330 | 0
6.7 Trenches for services | 0 | metre | Trenches for services | 7460 | 0
6.8 Boundary wall — type | Brickwork+RCC columns
6.8 Boundary wall — length | 0 | metre |  | 13210 | 0
6.9.1 Horticulture (earth filling/grassing/planting) | 0 | sqm | Horticulture operations including 300 mm earth filling, grassing, tree plantations/shrubs and potted plants etc. | 578 | 0
6.9.2 Vertical plantations (excl. framework) | 0 | sqm | Vertical plantations — excluding frame work; rate applicable on vertical gardening area | 6683 | 0
Detailed-method subtotal |  |  |  |  | 0
SECTION 6 TOTAL — DEVELOPMENT OF SITE |  |  |  |  | 0
Excluded per Note 5a/5b: tube wells/pumps/open wells/treatment plant/source-side works; sewage pumps/STP/septic tanks/outfall sewer beyond plot. Add via Section 7 (7.20 STP/ETP) or a separate estimate if needed.
J. SECTION 7 — SPECIALIZED E&M (items 7.1-7.28; provide per Note 6, only if required)
Item (source ref.) | Include? | Qty / Area input | Unit | Source condition | Rate | Cost (₹)
7.1.1 33 kV receiving substation + HT cabling | No | 0 | kVA | 33 kV receiving substation and 33 kV/11 kV HT cabling — complete specified system | 3800 | 0
7.2.1 33kV/0.433kV substation equipment | No | 0 | kVA | 33 KV/0.433 KV substation equipment — complete specified system | 9000 | 0
7.2.2 11kV/0.433kV substation equipment | No | 0 | kVA | 11 KV/0.433 KV substation equipment — complete specified system | 8100 | 0
7.3.1 Silent DG set + AMF panel etc. | No | 0 | kVA | Silent type DG sets, AMF panel, bus ducting/cables, synchronizing panel where required, enclosure works, earthing, fuel/exhaust systems and connected civil works | 11560 | 0
7.3.2 Extra — synchronizing panel (same kVA as 7.3.1) | No | 0 | kVA | Extra for synchronizing panels wherever required | 1070 | 0
7.4.1 Online UPS, 30 min backup | No | 0 | kVA | Online 3 phase UPS system with 30 minutes backup including batteries, cables, racks etc. | 21290 | 0
7.4.2 Extra — additional 30-min backup blocks (count; on 7.4.1 kVA) | No | 1 | blocks | Add for every additional 30 minutes backup | 9580 | 0
7.5.1 Energy-efficient central AC plant | No | 0 | TR | Energy efficient central AC plant including low side works | 90380 | 0
7.5.2 Extra — standby chilling units, high side (same TR as 7.5.1) | No | 0 | TR | Extra for stand-by chilling units high side | 40860 | 0
7.6.1 VRV/VRF system, complete | No | 0 | HP | VRV/VRF system including indoor/outdoor units, piping, electrical power distribution/wiring, electrical panel, treated fresh air system etc. | 58480 | 0
7.7.1 Precision air conditioning system | No | 0 | TR | Precision air conditioning system including piping, electrical cabling, controller etc. | 110000 | 0
7.8.1 Grid-interactive rooftop solar PV | No | 0 | kWp | Grid interactive roof top solar photovoltaic power generation system including space frame | 58480 | 0
7.9.1 Solar water heating system (excl. piping) | No | 0 | litre | Solar water heating system with heat exchanger, electrical heater backup, make-up water tank; without piping | 23920 | 0
7.10.1 CCTV indoors (on total plinth area) | No | 0 | sqm | IP-based CCTV for building security, indoors only; rate applicable on total plinth area | 210 | 0
7.10.2 External surveillance (on plot area minus ground-floor plinth) | No | 0 | sqm | External surveillance; rate applicable on total plot area minus plinth area at ground floor | 210 | 0
7.11.1 Access control (on plinth area of high-security zone only) | No | 0 | sqm | Access control system; rate applicable only on plinth area of high-security area | 220 | 0
7.12.1 IBMS, upto 10,000 sqm (on total plinth area) | No | 0 | sqm | IBMS up to 10,000 sqm; rate applicable on total plinth area | 430 | 0
7.12.2 IBMS extra for built-up area above 10,000 sqm (auto: only applies if total plinth area > 10,000) | No | 0 | sqm | IBMS extra for built-up area above 10,000 sqm; rate applicable on total plinth area | 130 | 0
7.13.1 Hydropneumatic water supply system | No | 0 | LPM | Hydropneumatic water supply system including pumps, pneumatic tank, controls, VFD, pipes, valves, cabling and switchgear | 1640 | 0
7.14.1 Lighting automation (area to be specified by client) | No | 0 | sqm | Lighting automation including occupancy sensors; rate applicable on area to be specified by client | 220 | 0
Net habitable plinth area (excl. service/common areas) — shared input for 7.15/7.16/7.17/7.18 | 0
7.15.2 Basic home security — Intercom system | No | 0 | sqm | Basic home security — Intercom system; rate applicable on plinth area excluding service/common areas | 320 | 0
7.16.3 Basic home security — CCTV system | No | 0 | sqm | Basic home security — CCTV system; rate applicable on plinth area excluding service/common areas | 320 | 0
7.17.1 LAN system | No | 0 | sqm | LAN system including switches, Wi-Fi, controller, racks, CAT 6A, patch panels, OFC etc.; rate applicable on plinth area excluding service/common areas | 560 | 0
7.18.1 IP-based EPABX system | No | 0 | sqm | IP-based EPABX system including switches, server/cloud UC solution, IP/SIP phones, racks, CAT 6A, patch panels, OFC etc.; rate applicable on plinth area excluding service/common areas | 580 | 0
7.19 Conference hall AV/conference system (carpet area of hall only) | No | 0 | sqm | Conference hall audio visual/conference system; rate applicable on carpet area of hall only | 11890 | 0
7.19.1 LED street/compound/mast/pathway lighting, whole campus (on total plot area) | No | 0 | sqm | Source: applicable for plots > 1 acre (4,046.86 sqm - standard unit conversion); for smaller plots, actual requirement should be worked out separately. | 160 | 0
7.20 STP/ETP plant capacity (tiered rate: 0-50 / 50-100 / above 100 KLD) | 0 | KLD
7.20.1 first 50 KLD |  |  |  |  | 75000 | 0
7.20.2 next 50-100 KLD |  |  |  |  | 60000 | 0
7.20.3 above 100 KLD |  |  |  |  | 50000 | 0
7.21.1 ANPR system | No | 0 | set | Driver face and automatic number plate recording/recognition system including high-resolution camera and software | 770890 | 0
7.22.1 Small baggage scanner | No | 0 | unit | Small baggage scanner — specified multi-energy X-ray system | 2259510 | 0
7.22.2 Big baggage scanner | No | 0 | unit | Big baggage scanner — specified multi-energy X-ray system | 3721550 | 0
7.23.1 Door frame metal detector (20-zone+) | No | 0 | set | 20-zone or above door frame metal detector, nominal 760×2050×700 mm, with software | 372160 | 0
7.24.2 Modular OT — stainless steel (basis 50 sqm/OT) | No | 0 | OT | Modular Operation Theater (MOT) with stainless steel technology; OT size basis 50 sqm | 7200000 | 0
7.24.3 Modular OT — SMS technology (basis 50 sqm/OT) | No | 0 | OT | Modular Operation Theater (MOT) with SMS technology; OT size basis 50 sqm | 10500000 | 0
7.25.1 Electromechanical boom barrier, upto 6 m | No | 0 | each | Electromechanical boom barrier with all accessories upto 6 metre length | 125000 | 0
7.26.1 Sensor-based car parking system (min. 250 cars basis) | No | 0 | car | Sensor-based car parking system with controller, display etc.; cost based on minimum car capacity of 250 | 10000 | 0
7.27.1 Illuminated signages (on total plinth area) | No | 0 | sqm | Illuminated signages; rate applicable on total plinth area | 22 | 0
7.28 Motorized steel gates, upto 6 m width | No | 0 | gate | Motorized steel gates upto 6.00 metre width | 500000 | 0
SECTION 7 TOTAL — SPECIALIZED E&M | [5 empty] | 0
K. GRAND TOTAL
Section 1 — Building Cost |  |  |  |  | 0
Section 2 — Services |  |  |  |  | 0
Section 3 — TPQA & Consultancy |  |  |  |  | 0
Section 4 — Lifts |  |  |  |  | 0
Section 5 — Water Tank |  |  |  |  | 0
Section 6 — Development of Site |  |  |  |  | 0
Section 7 — Specialized E&M |  |  |  |  | 0
Subtotal (Sections 1-7) |  |  |  |  | 0
Additional local Cess/Levy, if any (per Note 1 — rates above already include CP&OH, GST and Labour Welfare Cess; any OTHER cess/levy imposed by local Government is not in the source rates and must be entered here) | 0% | % of subtotal |  |  | 0
GRAND TOTAL — ESTIMATED PROJECT COST (₹) |  |  |  |  | 0
= same amount in ₹ crore |  |  |  |  | 0
This estimate excludes: land cost; furniture/loose furnishings unless specified above; works listed as excluded in Notes 5a/5b; anything under Section 7 not ticked "Yes"; and General facade lighting (Note, sheet 07) which the source says must be assessed case-by-case.

## 01 Building Cost
01 — Building Cost
Source section 1.0; specifications as per Annexure-I.
Item No. | Category | Description / condition | Building type / applicability | Rate unit | Rate
1.1.1 | RCC FRAMED STRUCTURE (Upto six storeys) | Floor height 3.60 metre | Offices/Colleges | ₹/sqm | 30920
1.1.1 | RCC FRAMED STRUCTURE (Upto six storeys) | Floor height 3.60 metre | Hospitals | ₹/sqm | 31990
1.1.1 | RCC FRAMED STRUCTURE (Upto six storeys) | Floor height 3.60 metre | Schools | ₹/sqm | 23530
1.1.1 | RCC FRAMED STRUCTURE (Upto six storeys) | Floor height 3.60 metre | Hostels/Quarters | ₹/sqm
1.1.2 | RCC FRAMED STRUCTURE (Upto six storeys) | Floor height 3.00 metre | Offices/Colleges | ₹/sqm
1.1.2 | RCC FRAMED STRUCTURE (Upto six storeys) | Floor height 3.00 metre | Hospitals | ₹/sqm
1.1.2 | RCC FRAMED STRUCTURE (Upto six storeys) | Floor height 3.00 metre | Schools | ₹/sqm
1.1.2 | RCC FRAMED STRUCTURE (Upto six storeys) | Floor height 3.00 metre | Hostels/Quarters | ₹/sqm | 24410
1.2.1 | COMPOSITE (PARTIALLY LOAD BEARING AND PARTIALLY RCC FRAMED) STRUCTURE (Upto six storeys) | Floor height 3.60 metre | Offices/Colleges | ₹/sqm | 26280
1.2.1 | COMPOSITE (PARTIALLY LOAD BEARING AND PARTIALLY RCC FRAMED) STRUCTURE (Upto six storeys) | Floor height 3.60 metre | Hospitals | ₹/sqm | 27190
1.2.1 | COMPOSITE (PARTIALLY LOAD BEARING AND PARTIALLY RCC FRAMED) STRUCTURE (Upto six storeys) | Floor height 3.60 metre | Schools | ₹/sqm | 20000
1.2.1 | COMPOSITE (PARTIALLY LOAD BEARING AND PARTIALLY RCC FRAMED) STRUCTURE (Upto six storeys) | Floor height 3.60 metre | Hostels/Quarters | ₹/sqm
1.2.2 | COMPOSITE (PARTIALLY LOAD BEARING AND PARTIALLY RCC FRAMED) STRUCTURE (Upto six storeys) | Floor height 3.00 metre | Offices/Colleges | ₹/sqm
1.2.2 | COMPOSITE (PARTIALLY LOAD BEARING AND PARTIALLY RCC FRAMED) STRUCTURE (Upto six storeys) | Floor height 3.00 metre | Hospitals | ₹/sqm
1.2.2 | COMPOSITE (PARTIALLY LOAD BEARING AND PARTIALLY RCC FRAMED) STRUCTURE (Upto six storeys) | Floor height 3.00 metre | Schools | ₹/sqm
1.2.2 | COMPOSITE (PARTIALLY LOAD BEARING AND PARTIALLY RCC FRAMED) STRUCTURE (Upto six storeys) | Floor height 3.00 metre | Hostels/Quarters | ₹/sqm | 20750
1.3.1 | EXTRA FOR | Set of six additional storey (7th to 12th storey) | All applicable | ₹/sqm | 123
1.3.2 | EXTRA FOR | Every 0.3 metre or part thereof, additional / less height of floor above normal floor height of 3.60 metre / 3.00 metre | Applicable area | ₹/sqm | 434
1.3.3 | EXTRA FOR | Every 0.3 metre or part thereof, higher plinth height over normal plinth height of 0.60 metre (ground floor area only) | Applicable area | ₹/sqm | 470
1.3.4 | EXTRA FOR | Every 0.30 metre or part thereof, deeper foundations over normal depth of 1.20 metre (ground floor area only) | Applicable area | ₹/sqm | 205
1.3.5 | EXTRA FOR | Making stronger foundations to take load of one additional floor at a later date (ground floor area only) | RCC framed structures | ₹/sqm | 1800
1.3.5 | EXTRA FOR | Making stronger foundations to take load of one additional floor at a later date (ground floor area only) | Composite structure | ₹/sqm | 700
1.3.6 | RCC raft foundation | Ground floor area only | All applicable | ₹/sqm | 12765
1.3.7 | Pile foundation upto a depth of 15 metre | Ground floor area only | All applicable | ₹/sqm | 22240
1.3.8 | Every 1.0 m deeper pile foundation over normal depth of 15 metre | Ground floor area only | All applicable | ₹/sqm | 2265
1.3.9 | Stronger structural members to take heavy load above 500 kg per sqm upto 1000 kg per sqm | Applicable area | All applicable | ₹/sqm | 2070
1.4.1 | BASEMENT FLOOR | Floor height upto 3.35 metre including water proofing (excluding raft base) | All applicable | ₹/sqm | 23170
1.4.2 | BASEMENT FLOOR | Add or deduct for every 0.30 metre, or part thereof, height against normal height of 3.35 metre | Applicable area | ₹/sqm | 1140
1.5.1 | FIRE FIGHTING | Downcomer System | All applicable | ₹/sqm | 460
1.5.2 | FIRE FIGHTING | With wet riser system | All applicable | ₹/sqm | 890
1.5.3 | FIRE FIGHTING | With wet riser and sprinkler system | All applicable | ₹/sqm | 1200
1.6.1 | FIRE ALARM SYSTEM | Manual fire alarm system | All applicable | ₹/sqm | 280
1.6.2 | FIRE ALARM SYSTEM | Automatic fire alarm system | All applicable | ₹/sqm | 600
1.7 | Pressurized mechanical ventilation system in the basements | With supply duct of exhaust blowers; on areas where mechanical ventilation is required | All applicable | ₹/sqm | 1050
1.8.1 | STILT PORTION | Stilt portion of multi-storey buildings upto floor height of 3.60 metre (on stilt area only) | All applicable | ₹/sqm | 9870
1.8.2 | STILT PORTION | Every 0.30 metre additional height above 3.60 metre | Applicable stilt area | ₹/sqm | 235
Note: | 1.3.1 Extra for additional storeys
An additional rate of ₹123/sqm shall apply to each set of six additional storeys, as follows:
7th to 12th storey: ₹123/sqm
13th to 18th storey: ₹246/sqm
19th to 24th storey: ₹369/sqm
25th to 30th storey: ₹492/sqm
And so on, with the rate increasing by ₹123/sqm for each successive set of six storeys.
The applicable plinth area shall be the total plinth area of all storeys within the respective set of six storeys.
If the final set contains fewer than six storeys, the same procedure shall apply.
Example: For a 15-storey building:
1. 7th–12th storeys: ₹123/sqm on the combined plinth area of the 7th to 12th storeys.
2. 13th–15th storeys: ₹246/sqm on the combined plinth area of the 13th to 15th storeys.

## 02 Services
02 — Services
Percentage rates; the source states the percentage is based on building cost as per 1.0, excluding specified subheads.
Item No. | Description | Building type / condition | Rate basis | Rate (%)
2.1 | Internal water supply & sanitary installations | Offices/Colleges | % of building cost | 4
2.1 | Internal water supply & sanitary installations | Hospitals | % of building cost | 10
2.1 | Internal water supply & sanitary installations | Schools | % of building cost | 5
2.1 | Internal water supply & sanitary installations | Hostels — with attached toilets | % of building cost | 12
2.1 | Internal water supply & sanitary installations | Hostels — with common toilets | % of building cost | 8
2.1 | Internal water supply & sanitary installations | Quarters | % of building cost | 9
2.2.1 | Electrical external service connections | All building categories | % of building cost | 3.75
2.2.2 | Civil external service connections | All building categories | % of building cost | 1.25
2.2.3 | Local body approvals including tree cutting etc. | All building categories | % of building cost | 1.25
2.3 | Internal electric installations | All building categories | % of building cost | 12.5
2.4.1 | Power wiring and plugs | All building categories | % of building cost | 4
2.4.2 | Lightning conductors | Offices/Colleges | % of building cost | 0.25
2.4.2 | Lightning conductors | Hospitals | % of building cost | 0.25
2.4.2 | Lightning conductors | Schools | % of building cost | 0.25
2.4.2 | Lightning conductors | Hostels | % of building cost | 0.25
2.4.2 | Lightning conductors | Quarters | % of building cost
2.4.3 | Telephone conduits | Offices/Colleges | % of building cost | 0.25
2.4.3 | Telephone conduits | Hospitals | % of building cost | 0.25
2.4.3 | Telephone conduits | Schools | % of building cost | 0.25
2.4.3 | Telephone conduits | Hostels | % of building cost | 0.25
2.4.3 | Telephone conduits | Quarters | % of building cost
Source basis note
For section 2.0, the source states that percentages refer to the percentage of building cost as per 1.0 above, excluding subheads 1.3.4, 1.3.5, 1.3.6, 1.3.7, 1.3.8, 1.3.9, 1.5 and 1.6.

## 03 TPQA Consultancy
03 — TPQA & Consultancy Services
Percentages refer to building cost (sum of section 1.0 and section 2.0).
Item No. | Description | Applicability | Rate basis | Rate (%)
3.1 | Third Party Quality Assurance | All building categories | % of building cost (1.0 + 2.0) | 1
3.2 | Consultancy Services for Architectural, Structural and MEP Services, if outsourced | All building categories | % of building cost (1.0 + 2.0) | 1.75

## 04 Lifts
04 — Lifts
Power-operated centre-opening doors and AC variable voltage & variable frequency controls.
Item No. | Lift type | Capacity / persons | Speed (m/sec) | Travel height | Price (₹ lakh) | Extra per additional floor (₹) | Baseline floors incl. ground (derived) | Spec label (for dropdown)
4.1.1 | Passenger | 8 | 1.0 | G+4 | 17.24 | 99860 | 5 | Passenger 8-person, 1.0 m/s, G+4
4.1.2 | Passenger | 8 | 1.5 | G+5 | 19.39 | 99860 | 6 | Passenger 8-person, 1.5 m/s, G+5
4.1.3 | Passenger | 13 | 1.0 | G+4 | 19.39 | 99860 | 5 | Passenger 13-person, 1.0 m/s, G+4
4.1.4 | Passenger | 13 | 1.5 | G+5 | 21.55 | 122050 | 6 | Passenger 13-person, 1.5 m/s, G+5
4.1.5 | Passenger | 16 | 1.0 | G+4 | 25.85 | 122050 | 5 | Passenger 16-person, 1.0 m/s, G+4
4.1.6 | Passenger | 16 | 1.5 | G+5 | 28.01 | 122050 | 6 | Passenger 16-person, 1.5 m/s, G+5
4.1.7 | Passenger | 16 | 2.5 | G+12 | 75.41 | 122050 | 13 | Passenger 16-person, 2.5 m/s, G+12
4.2.1 | Bed | 20 | 0.75 | G+4 | 25.85 | 122050 | 5 | Bed 20-person, 0.75 m/s, G+4
4.2.2 | Bed | 20 | 1.5 | G+5 | 29.09 | 122050 | 6 | Bed 20-person, 1.5 m/s, G+5
4.2.3 | Bed | 20 | 2.5 | G+12 | 80.79 | 122050 | 13 | Bed 20-person, 2.5 m/s, G+12
4.3.1 | Goods (2 speed) | 1 Ton | 0.5 | G+4 | 28.01 | 94310 | 5 | Goods (2 speed) 1 Ton-person, 0.5 m/s, G+4
4.3.2 | Goods (2 speed) | 2 Ton | 0.5 | G+4 | 35.55 | 94310 | 5 | Goods (2 speed) 2 Ton-person, 0.5 m/s, G+4
4.3.3 | Goods (2 speed) | 3 Ton | 0.25 | G+4 | 44.17 | 110950 | 5 | Goods (2 speed) 3 Ton-person, 0.25 m/s, G+4

## 05 RCC Water Tank
05 — RCC Water Tank
Rates as stated in ₹ per litre.
Item No. | Description | Rate unit | Rate
5.1 | Overhead tank without independent staging | ₹/litre | 23
5.2 | Overhead tank with staging height upto 20 metre | ₹/litre | 35
5.3 | Overhead tank with staging height above 20 metre upto 30 metre | ₹/litre | 40
5.4 | Overhead tank with staging height above 30 metre upto 40 metre | ₹/litre | 47
5.5 | Underground sump | ₹/litre | 24

## 06 Development of Site
06 — Development of Site
Rates are presented using the source units and descriptions.
Item No. | Description | Rate unit | Rate
6.1 | Levelling | ₹/sqm | 160
6.2.1 | Internal road with WBM and bituminous top | ₹/sqm | 1940
6.2.2 | Internal road with WMM and bituminous top | ₹/sqm | 2150
6.2.3 | Cement concrete pavement with vacuum dewatered concrete | ₹/sqm | 2945
6.2.4 | Footpath with PCC base, 60 mm thick paver blocks and kerb stone edging | ₹/sqm | 2930
6.3 | External sewerage | ₹/metre | 4180
6.4.1 | Filtered water supply — Distribution lines upto 100 mm dia | ₹/metre | 2170
6.4.2 | Filtered water supply — Peripheral grid 150 mm to 300 mm dia pipes | ₹/metre | 4175
6.4.3 | Unfiltered water supply distribution lines | ₹/metre | 1560
6.5 | Storm water drains | ₹/metre | 10810
6.6 | Rain water harvesting (RWH) — excluding collection tank | ₹/metre | 2330
6.7 | Trenches for services | ₹/metre | 7460
6.8.1 | Boundary wall with brickwork structure, RCC columns 300×300 mm @ 3.00 m c/c, RCC plinth beam 300×300 mm, coping; 1500 mm wall + 600 mm MS grill; 2100 mm steel gates at every 100 m | ₹/metre | 13210
6.8.2 | Boundary wall with precast RCC M40 shaped 250×230 mm posts and 70 mm thick RCC wall panel inserts; same overall boundary-wall description | ₹/metre | 9735
6.9.1 | Horticulture operations including 300 mm earth filling, grassing, tree plantations/shrubs and potted plants etc. | ₹/sqm | 578
6.9.2 | Vertical plantations — excluding frame work; rate applicable on vertical gardening area | ₹/sqm | 6683

## 07 Specialized E&M
07 — Specialized E&M Works
Items 7.1 to 7.28 from the source PDF; descriptions retained and organized into a single rate table.
Item No. | Description / applicability | Rate unit | Rate
7.1.1 | 33 kV receiving substation and 33 kV/11 kV HT cabling — complete specified system | ₹/kVA | 3800
7.2.1 | 33 KV/0.433 KV substation equipment — complete specified system | ₹/kVA | 9000
7.2.2 | 11 KV/0.433 KV substation equipment — complete specified system | ₹/kVA | 8100
7.3.1 | Silent type DG sets, AMF panel, bus ducting/cables, synchronizing panel where required, enclosure works, earthing, fuel/exhaust systems and connected civil works | ₹/kVA | 11560
7.3.2 | Extra for synchronizing panels wherever required | ₹/kVA | 1070
7.4.1 | Online 3 phase UPS system with 30 minutes backup including batteries, cables, racks etc. | ₹/kVA | 21290
7.4.2 | Add for every additional 30 minutes backup | ₹/kVA | 9580
7.5.1 | Energy efficient central AC plant including low side works | ₹/TR | 90380
7.5.2 | Extra for stand-by chilling units high side | ₹/TR | 40860
7.6.1 | VRV/VRF system including indoor/outdoor units, piping, electrical power distribution/wiring, electrical panel, treated fresh air system etc. | ₹/HP | 58480
7.7.1 | Precision air conditioning system including piping, electrical cabling, controller etc. | ₹/TR | 110000
7.8.1 | Grid interactive roof top solar photovoltaic power generation system including space frame | ₹/kWp | 58480
7.9.1 | Solar water heating system with heat exchanger, electrical heater backup, make-up water tank; without piping | ₹/100 litre | 23920
7.10.1 | IP-based CCTV for building security, indoors only; rate applicable on total plinth area | ₹/sqm | 210
7.10.2 | External surveillance; rate applicable on total plot area minus plinth area at ground floor | ₹/sqm | 210
7.11.1 | Access control system; rate applicable only on plinth area of high-security area | ₹/sqm | 220
7.12.1 | IBMS up to 10,000 sqm; rate applicable on total plinth area | ₹/sqm | 430
7.12.2 | IBMS extra for built-up area above 10,000 sqm; rate applicable on total plinth area | ₹/sqm | 130
7.13.1 | Hydropneumatic water supply system including pumps, pneumatic tank, controls, VFD, pipes, valves, cabling and switchgear | ₹/LPM | 1640
7.14.1 | Lighting automation including occupancy sensors; rate applicable on area to be specified by client | ₹/sqm | 220
7.15.2 | Basic home security — Intercom system; rate applicable on plinth area excluding service/common areas | ₹/sqm | 320
7.16.3 | Basic home security — CCTV system; rate applicable on plinth area excluding service/common areas | ₹/sqm | 320
7.17.1 | LAN system including switches, Wi-Fi, controller, racks, CAT 6A, patch panels, OFC etc.; rate applicable on plinth area excluding service/common areas | ₹/sqm | 560
7.18.1 | IP-based EPABX system including switches, server/cloud UC solution, IP/SIP phones, racks, CAT 6A, patch panels, OFC etc.; rate applicable on plinth area excluding service/common areas | ₹/sqm | 580
7.19 | Conference hall audio visual/conference system; rate applicable on carpet area of hall only | ₹/sqm | 11890
7.19.1 | LED street/compound/high mast/pathway/landscape lighting for entire campus; rate applicable on total plot area | ₹/sqm | 160
7.20.1 | STP/ETP plant, plant size upto 50 KLD | ₹/KLD | 75000
7.20.2 | Add extra for every KLD for plant size above 50 KLD and upto 100 KLD | ₹/KLD | 60000
7.20.3 | Add extra for every KLD for plant size above 100 KLD | ₹/KLD | 50000
7.21.1 | Driver face and automatic number plate recording/recognition system including high-resolution camera and software | ₹/set | 770890
7.22.1 | Small baggage scanner — specified multi-energy X-ray system | ₹/unit | 2259510
7.22.2 | Big baggage scanner — specified multi-energy X-ray system | ₹/unit | 3721550
7.23.1 | 20-zone or above door frame metal detector, nominal 760×2050×700 mm, with software | ₹/set | 372160
7.24.2 | Modular Operation Theater (MOT) with stainless steel technology; OT size basis 50 sqm | ₹/OT | 7200000
7.24.3 | Modular Operation Theater (MOT) with SMS technology; OT size basis 50 sqm | ₹/OT | 10500000
7.25.1 | Electromechanical boom barrier with all accessories upto 6 metre length | ₹/each | 125000
7.26.1 | Sensor-based car parking system with controller, display etc.; cost based on minimum car capacity of 250 | ₹/car | 10000
7.27.1 | Illuminated signages; rate applicable on total plinth area | ₹/sqm | 22
7.28 | Motorized steel gates upto 6.00 metre width | ₹/gate | 500000
Source notes embedded in the PDF
7.2: For kVA estimation, the source refers to the CPWD Guidelines for Substation & Power Distribution Systems of Buildings-2019, paras 4.4, 13 and other relevant paras.
7.10: CCTV indoor rate includes peripheral IP-based PTZ camera, indoor cameras at reception/corridors/lift lobby etc., wiring to CCTV room and monitoring unit(s); excludes inside office/lab rooms and special video walls.
7.17/7.18: Source notes that common switches, OFC and CAT 6A infrastructure may be economical for both voice and networking.
7.19 street lighting: Source says applicable for plot sizes more than 1 acre; for smaller plots actual requirements may be worked out.
General façade lighting, if required, is to be assessed case by case.

## 08 Notes
08 — Source Notes
Notes reproduced/organized from the CPWD PDF; no external corrections substituted.
Note | Source note
1 | Rates are inclusive of CP & OH, GST and Labour Welfare Cess; any other Cess/Levy imposed by local Government shall be added separately.
2 | Third Party Quality Assurance (Item 3.1) and Consultancy Services for designing and planning of the project (Item 3.2) shall only be considered if desired by the clients.
3 | Accessibility features for barrier-free built environment: for new construction, cost is deemed included in the rate for non-residential buildings; for existing construction, estimate may be prepared as per prevalent Delhi Schedule of Rates.
4.1 | If development component area/length under items 6.1 to 6.7 cannot be computed: Compact site — 4.5% of building cost. Description: single huge-area building with few ancillary buildings or few high-rise blocks (higher than 12 storeys) in close cluster.
4.2 | Semi compact/semi scattered site — 6.0% of building cost. Description: few midrise blocks (6 to 12 storeys) in a gated compound.
4.3 | Large site — 7.5% of building cost. Description: various scattered low-rise buildings (upto 4 storeys), with exception of a block or two upto 6 storeys.
5a | Development works not included: tube wells, pumps, open wells, treatment plant, extension of lines from source of local bodies, head works at water source etc.
5b | Development works not included: sewage pumps, sewage treatment plants, septic tanks, extension of outfall sewer upto point of disposal etc.
6 | Provision for Specialized E&M services, if required, may be made as per section 7.0.
7 | Concealed wiring shall be used in all electrical works.
8a | Green measure included in civil/electrical rates: over-deck insulation and high SRI reflective paint on thereof.
8b | Green measure included: masonry work in superstructure with AAC blocks/fly ash bricks.
8c | Green measure included: windows with reflective glass coating/high-performance coatings/double glazed unit.
8d | Green measure included: paints with low VOC options.
8e | Green measure included: pillar cock with infrared sensor and foam flow technology, with provision of online water filter for sediment-free water from terrace tank outlet/distribution line.
8f | Green measure included: dual plumbing system.
8g | Green measure included: LED light fixtures.
8h | Green measure included: BEE-certified 5-star rated fixtures.

## 09 Cost Index
09 — Annexure-VI: Proforma for Calculation of Building Cost Index
Component rates as presented in the PDF. The PDF's second page of the proforma labels the comparison rates as 01.04.2023.
S.No. | Description | Unit | %age | Rates as on 01.04.2025 (₹) | Proportionate value (₹) | Weightage/combined rates (₹) | Weightage of Component (%) | Rates at revision of Cost Index | Cost Index
1 | Bricks (Fly Ash) | 1000 nos. | 100 | 4750 | 4750 | 4750 | 8
2 | Cement (OPC) | qtl. | 100 | 523.45 | 523.45 | 523.45 | 14.5
3a | TMT Steel Reinforcement bar — 8 & 10 mm dia. | qtl. | 50 | 5430 | 2715 | 5530 | 19.5
3b | TMT Steel Reinforcement bar — 12 & 16 mm dia. | qtl. | 50 | 5630 | 2815
4a | Aggregates 20 mm — Natural sources | cum | 75 | 1500 | 1125 | 1375 | 6.5
4b | Aggregates 20 mm (RCA) | cum | 25 | 1000 | 250
5a | Sand (coarse sand) — Natural sources | cum | 75 | 1250 | 937.5 | 1260 | 3
5b | Sand (coarse sand) RA | cum | 25 | 1290 | 322.5
6a | Flooring Items — Vitrified tiles | sqm | 50 | 380 | 190 | 658.07 | 5
6b | Flooring Items — Ceramic tiles | sqm | 20 | 352 | 70.4
6c | Flooring Items — Kota stone | sqm | 10 | 376.74 | 37.67
6d | Flooring Items — Granite stone | sqm | 20 | 1800 | 360
7a | Paints — Synthetic enamel paint | litre | 33.33 | 178 | 59.33 | 167.67 | 3
7b | Paints — Acrylic washable distemper | litre | 33.33 | 38 | 12.67
7c | Paints — Premium acrylic paint | litre | 33.33 | 287 | 95.66
8a | Door/windows — 35 mm thick flush door shutters, both side commercial veneering | sqm | 30 | 2120 | 636 | 2601 | 7
8b | Door/windows — Factory made, standard Z-section steel windows | sqm | 15 | 1750 | 262.5
8c | Door/windows — uPVC windows | sqm | 20 | 4400 | 880
8d | Door/windows — Aluminum window | sqm | 35 | 2350 | 822.5
9a | Pipes — 15 mm GI pipes | metre | 10 | 110 | 11 | 350 | 2.5
9b | Pipes — 100 mm CI pipes | metre | 40 | 710 | 284
9c | Pipes — 20 mm black conduits | metre | 20 | 80 | 16
9d | Pipes — 20 mm CPVC pipes | metre | 30 | 130 | 39
10a | Lamps & Fans — Ceiling fans 1200 mm | each | 50 | 1315 | 657.5 | 816.4 | 4.5
10b | Lamps & Fans — 1200 mm LED tube lights with fittings | each | 40 | 383 | 153.2
10c | Lamps & Fans — LED bulbs 9/11 W | each | 10 | 57 | 5.7
11 | Electrical machinery, Motor 7.5 HP (pump set) 1500 RPM | each | 100 | 29500 | 29500 | 29500 | 2.5
12a | Wires & cables — Copper wire 1.5 sqmm | 100 metre | 70 | 1280 | 896 | 1861.4 | 4
12b | Wires & cables — Copper wire 4.0 sqmm | 100 metre | 30 | 3218 | 965.4
13a | Labour — Skilled | each | 50 | 981 | 490.5 | 893 | 20
13b | Labour — Unskilled | each | 50 | 805 | 402.5
Purpose: The Building Cost Index indicates the change in construction cost from the base period to the current period. It is calculated using weighted changes in the rates of representative construction materials, equipment and labour.
Important source note
The PDF notes that aggregates 20 mm and coarse sand are split into 75% natural source and 25% RCA/RA. Where RCA/RA components are unavailable because C&D waste conversion units are not set up, the 25% RCA/RA components may be avoided and 100% natural-source materials considered.
The PDF also states that material rates adopted in column 5 and computed rates in columns 6 and 7 are bare rates excluding GST or other levy; for local cost index, bare rates at the respective station shall be considered.
S.No. | Description | Unit | %age | Rate ₹ | Proportionate value ₹ | Weightage rate ₹ | Component weight | Rate at revision | Cost Index
1 | Bricks (Fly Ash) | 1000 nos. | 100% | 4750 | 4750 | 4750 | 8% | — | —
2 | Cement (OPC) | qtl. | 100% | 523.45 | 523.45 | 523.45 | 14.5% | — | —
3a | TMT Steel Reinforcement Bar — 8 & 10 mm dia. | qtl. | 50% | 5430 | 2715 | 5530 | 19.5% | — | —
3b | TMT Steel Reinforcement Bar — 12 & 16 mm dia. | qtl. | 50% | 5630 | 2815 | — | — | — | —
3 Total | TMT Steel Reinforcement Bar | Combined | 100% | — | 5530 | 5530 | 19.5% | — | —
4a | Aggregates 20 mm — Natural sources | cum | 75% | 1500 | 1125 | 1375 | 6.5% | — | —
4b | Aggregates 20 mm (RCA) | cum | 25% | 1000 | 250 | — | — | — | —
4 Total | Aggregates 20 mm | Combined | 100% | — | 1375 | 1375 | 6.5% | — | —
5a | Sand (coarse sand) — Natural sources | cum | 75% | 1250 | 937.5 | 1260 | 3% | — | —
5b | Sand (coarse sand) — RA | cum | 25% | 1290 | 322.5 | — | — | — | —
5 Total | Sand (coarse sand) | Combined | 100% | — | 1260 | 1260 | 3% | — | —
6a | Flooring Items — Vitrified tiles | sqm | 50% | 380 | 190 | 658.07 | 5% | — | —
6b | Flooring Items — Ceramic tiles | sqm | 20% | 352 | 70.4 | — | — | — | —
6c | Flooring Items — Kota stone | sqm | 10% | 376.74 | 37.67 | — | — | — | —
6d | Flooring Items — Granite stone | sqm | 20% | 1800 | 360 | — | — | — | —
6 Total | Flooring Items | Combined | 100% | — | 658.07 | 658.07 | 5% | — | —
7a | Paints — Synthetic enamel paint | litre | 33.33% | 178 | 59.33 | 167.67 | 3% | — | —
7b | Paints — Acrylic washable distemper | litre | 33.33% | 38 | 12.67 | — | — | — | —
7c | Paints — Premium acrylic paint | litre | 33.33% | 287 | 95.66 | — | — | — | —
7 Total | Paints | Combined | 100% | — | 167.66 | 167.67 | 3% | — | —
8a | Door/windows — 35 mm flush door, veneered both sides | sqm | 30% | 2120 | 636 | 2601 | 7% | — | —
8b | Door/windows — Factory-made Z-section steel windows | sqm | 15% | 1750 | 262.5 | — | — | — | —
8c | Door/windows — uPVC windows | sqm | 20% | 4400 | 880 | — | — | — | —
8d | Door/windows — Aluminum window | sqm | 35% | 2350 | 822.5 | — | — | — | —
8 Total | Door/windows | Combined | 100% | — | 2601 | 2601 | 7% | — | —
9a | Pipes — 15 mm GI pipes | metre | 10% | 110 | 11 | 350 | 2.5% | — | —
9b | Pipes — 100 mm CI pipes | metre | 40% | 710 | 284 | — | — | — | —
9c | Pipes — 20 mm black conduits | metre | 20% | 80 | 16 | — | — | — | —
9d | Pipes — 20 mm CPVC pipes | metre | 30% | 130 | 39 | — | — | — | —
9 Total | Pipes | Combined | 100% | — | 350 | 350 | 2.5% | — | —
10a | Lamps & Fans — Ceiling fans 1200 mm | each | 50% | 1315 | 657.5 | 816.4 | 4.5% | — | —
10b | Lamps & Fans — 1200 mm LED tube lights with fittings | each | 40% | 383 | 153.2 | — | — | — | —
10c | Lamps & Fans — LED bulbs 9/11 W | each | 10% | 57 | 5.7 | — | — | — | —
10 Total | Lamps & Fans | Combined | 100% | — | 816.4 | 816.4 | 4.5% | — | —
11 | Electrical machinery — Motor 7.5 HP (pump set) 1500 RPM | each | 100% | 29500 | 29500 | 29500 | 2.5% | — | —
12a | Wires & cables — Copper wire 1.5 sqmm | 100 metre | 70% | 1280 | 896 | 1861.4 | 4% | — | —
12b | Wires & cables — Copper wire 4.0 sqmm | 100 metre | 30% | 3218 | 965.4 | — | — | — | —
12 Total | Wires & cables | Combined | 100% | — | 1861.4 | 1861.4 | 4% | — | —
13a | Labour — Skilled | each | 50% | 981 | 490.5 | 893 | 20% | — | —
13b | Labour — Unskilled | each | 50% | 805 | 402.5 | — | — | — | —
13 Total | Labour | Combined | 100% | — | 893 | 893 | 20% | — | —
Component weights sum to 100% (8+14.5+19.5+6.5+3+5+3+7+2.5+4.5+2.5+4+20).

## 10 Source Check
10 — Source Coverage & Verification Log
Cross-check against all 11 pages of the supplied PDF. Blank cells mean the source does not provide a corresponding value in that row.
Check area | Finding | Status | PDF location
Document identity | Title: Plinth Area Rates 2025 | Confirmed | Page 1
Effective date | Rates as on 01.04.2025 | Confirmed | Page 1
Unit convention | Rate in ₹ per sqm for main PAR table | Confirmed | Page 1
Section 1.0 | Building Cost items 1.1–1.8 | Included | Pages 1–2
Section 2.0 | Services items 2.1–2.4 | Included | Pages 2–3
Section 3.0 | TPQA & Consultancy items 3.1–3.2 | Included | Page 3
Section 4.0 | Passenger, Bed and Goods lifts | Included | Pages 3–4
Section 5.0 | RCC Water Tank items 5.1–5.5 | Included | Page 4
Section 6.0 | Development of Site items 6.1–6.9.2 | Included | Pages 4–5
Section 7.0 | Specialized E&M items 7.1–7.28 | Included | Pages 5–8
Notes | Notes 1–8 and subnotes | Included | Page 9
Annexure-VI | Building Cost Index proforma | Included | Pages 10–11
Duplicate source numbering | PDF prints 1.7 twice on page 2; workbook retains one logical 1.7 row because both source occurrences contain the same description and rate. | Reviewed | Page 2
Source numbering anomaly | PDF labels conference hall as 7.19 and street lighting also as 7.19/7.19.1; workbook preserves the source labels rather than silently renumbering. | Reviewed | Page 7
Source numbering anomaly | PDF shows Basic Home Security heading 7.15, then subitems 7.15.2 and 7.16.3; workbook preserves these item numbers. | Reviewed | Page 7
Cost-index date label | Page 11 shows 'Rates as on 01.04.2023' while the document itself is PAR 2025; workbook preserves the PDF's printed heading and does not overwrite it. | Reviewed | Page 11
No silent correction | Values/descriptions were reorganized for Excel usability but not replaced with external values. | Confirmed | Entire document